## Audit
Name: Ms. Armstrong
Device | Power | Estimated Daily | Total Energy Used | Cost per day | Cost per month | Annual cost
| Usage (kW) | Ave Time in Use (hrs) | per Day (kWh)
Laundry Room
Overhead light (7W) | 0.007 | 0.071429 | 0.0005 | 2.8e-05 | 0.000854 | 0.01022
Electric water heater (50 gal capacity kept @123 F) | 3 | 3 | 3 | 0.168 | 5.124 | 61.32
Electrolux washer (EFLS627UIW) - ave 85 kWh yr based on 6 loads/wk | 0.54487 | 0.28571 | 0.15568 | 0.0087179 | 0.2659 | 3.1821
Electrolux dryer (EFME627UIW) | 3 | 0.53571 | 1.6071 | 0.09 | 2.745 | 32.85
Vacuum cleaner | 1.4 | 0.05 | 0.07 | 0.00392 | 0.11956 | 1.4308
Kitchen
Overhead LED can lights (4 @ 7W) | 0.028 | 4 | 0.112 | 0.006272 | 0.1913 | 2.2893
Oster toaster oven | 1.4 | 0.06 | 0.084 | 0.004704 | 0.14347 | 1.717
Breville 1.7 liter water boiler (per use estimate) | 0.06 | 0.12 | 0.12 | 0.00672 | 0.20496 | 2.4528
5 V bluetooth speaker | 0.01 | 0.75 | 0.0075 | 0.00042 | 0.01281 | 0.1533
10 W USB power adapter (in-use) | 0.006 | 1 | 0.006 | 0.000336 | 0.010248 | 0.12264
10 W USB power adapter (plugged in, not in-use) | 0.0001 | 23 | 0.0023 | 0.0001288 | 0.0039284 | 0.047012
GE microhood (in-use) | 1.2 | 0.023 | 0.0276 | 0.0015456 | 0.047141 | 0.56414
GE microhood (w/ clock only) | 0.002 | 24 | 0.048 | 0.002688 | 0.081984 | 0.98112
GE gas range |  |  |  | 0 | 0 | 0
GE refrigerator (572 kWh /yr) | N/A | N/A | 1.5671 | 0.087759 | 2.6766 | 32.032
GE dishwasher | 1.8 | 0.285 | 0.513 | 0.028728 | 0.8762 | 10.4857
Garbage disposal | 0.01 | 0.00016667 | 1.6667e-06 | 9.3333e-08 | 2.8467e-06 | 3.4067e-05
Undercounter lights LED tape lights (estimate) | 0.007 | 4 | 0.028 | 0.001568 | 0.047824 | 0.57232
Commonly used kitchen appliances
Emmersion blender | 0.4 | 0.083333 | 0.033333 | 0.0018667 | 0.056933 | 0.68133
Standing mixer | 0.4 | 0.016667 | 0.0066667 | 0.00037333 | 0.011387 | 0.13627
Food processor | 0.4 | 0.016667 | 0.0066667 | 0.00037333 | 2.0907e-05 | 0.13627
Insta Pot (0.1 kW per use) | 0.1 | 0.10714 | 0.010714 | 0.0006 | 3.36e-05 | 0.219
Living Room
Daiken Mini split (15 SEER) Estimate @100 kWh/mo | N/A | N/A | 3.2787 | 0.18361 | 5.6 | 67.0164
Floor lamp (10W) | 0.01 | 4.5 | 0.045 | 0.00252 | 0.07686 | 0.9198
Floor lamp (9W) | 0.009 | 4.5 | 0.0405 | 0.002268 | 0.069174 | 0.82782
Overhead light w/ 2 LED bulbs (14W) | 0.028 | 0.083 | 0.002324 | 0.00013014 | 0.0039694 | 0.047503
TV (55"flat screen) (ave 60W) | 0.06 | 3 | 0.18 | 0.01008 | 0.30744 | 3.6792
DVD player (10.8W) - rarly used - maybe 2x /yr | 0.0108 | N/A | 0 | 0 | 0 | 0
Samsung Sound Bar (300W) | 0.075 | 3 | 0.225 | 0.0126 | 0.3843 | 4.599
Wi-Fi router (estimate 6W day) | 0.00025 | 24 | 0.006 | 0.000336 | 0.010248 | 0.12264
Hallway
Overhead light (14W) | 0.014 | 0.5 | 0.007 | 0.000392 | 0.011956 | 0.14308
Guest bedroom
Overhead lamp (14W) | 0.014 | 0.5 | 0.007 | 0.000392 | 0.011956 | 0.14308
Closet Light LED strip | 0.007 | 0.5 | 0.0035 | 0.000196 | 0.005978 | 0.07154
DELL laptop computer (while in-use) | 0.03 | 1 | 0.03 | 0.00168 | 0.05124 | 0.6132
DELL laptop computer (while being charged / plugged in) | 0.01 | 23 | 0.23 | 0.01288 | 0.39284 | 4.7012
Daiken Minisplit |  |  | 3.2787 | 0.18361 | 5.6 | 67.0164
Floor lamp w/ 3 bulbs (40W) - hardly ever on | 0.04 | 0 | 0 | 0 | 0 | 0
Master Bedroom
Overhead light (13W) | 0.013 | 0.5 | 0.0065 | 0.000364 | 0.011102 | 0.13286
Daiken Minsplit (Estimate @100 kWh/mo) | 0 | 0 | 0 | 0 | 0 | 0
Desk lamp (40W) | 0.04 | 0.25 | 0.01 | 0.00056 | 0.01708 | 0.2044
Table Lamp (13W) | 0.013 | 1 | 0.013 | 0.000728 | 0.022204 | 0.26572
Phone chargers (2) (20W) (in-use) | 0.012 | 16 | 0.192 | 0.010752 | 0.32794 | 3.9245
Phone charger 2 (20W) - plugged in but not in use | 0.0004 | 32 | 0.0128 | 0.0007168 | 0.021862 | 0.26163
Bathroom
Overhead light (2 x 7 W)
Bathroom fan
Outdoor
Front light (25W) | 0.025 | 4 | 0.1 | 0.0056 | 0.1708 | 2.044
Office / Shop
iPad | 0.072 | 1 | 0.072 | 0.004032 | 0.12298 | 1.4717
Mac laptop computer (charging) | 0.072 | 1 | 0.072 | 0.004032 | 0.12298 | 1.4717
Space heater (600W/900W/1500W) | 0.9 | 4 | 3.6 | 0.2016 | 6.1488 | 73.584
Desk lamp (16.5W) | 0.0165 | 1 | 0.0165 | 0.000924 | 0.028182 | 0.33726
Phone charger (10W) - in-use | 0.006 | 0.5 | 0.003 | 0.000168 | 0.005124 | 0.06132
Phone charger (10W) - plugged in but not in use | 0.01 | 0 | 0 | 0 | 0 | 0
6 florescent overhead lights (40W???) | 0.24 | 4 | 0.96 | 0.05376 | 1.6397 | 19.6224
Milwaukee job site radio | 0.021 | 0.5 | 0.0105 | 0.000588 | 0.017934 | 0.21462
|  | Daily Totals | 19.8082 | 1.1093 | 33.8028 | 404.8802
|  | Reduction goal | 5.9425 | 3.3278 | 10.1408 | 121.4641
*Note: These totals are based on $0.056 kWh. This price does not reflect the base cost of service fees and local taxes.
Resources:
http://energyusecalculator.com/electricity_clothesdryer.htm
https://www.techstake.org/average-toaster-oven-wattage/
https://www.kompulsa.com/how-much-power-are-your-appliances-consuming/#laptopcomputers
https://www.energy.gov/energysaver/save-electricity-and-fuel/appliances-and-electronics/estimating-appliance-and-home
https://www.cnet.com/news/what-you-need-to-know-about-tv-power-consumption/
https://www.housenspect.com/pdfs/07-654-321-Wattage-Reference-Guide.pdf

## Energy Use Data
Energy Predictions for Household Devices
Rating | Power Used | Desctription
1 | 1-10 W | Low Power
2 | 11-100 W | Moderate Power
3 | 101 - 500 W | High Power
4 | 501 - 2000W | Very High Power
Instructions:
1) Insert the name of the device or appliance in column A. Add lines as necessary to account for each of the appliances and devices. Modify the names of rooms to reflect those in your home.
2) Before you being collecting data, use the chart above to predict the power rating of identified appliances and devices. Put your prediction in column B.
3) Record the daily amount of time each device or appliance is in use for 14 days.
4) Use the chart above to determine the actual power rating of each device or appliance.
Device / Appliance | Predicted Power | Energy Audit Data (minutes) | [13 empty] | Average | Actual Power
| Rating (See Chart) | Day 1 | Day 2 | Day 3 | Day 4 | Day 5 | Day 6 | Day 7 | Day 8 | Day 9 | Day 10 | Day 11 | Day 12 | Day 13 | Day 14 | Daily Use | Rating (See Chart)
Laundry Room
Kitchen
Commonly used kitchen appliances
Living Room
Hallway
Bedroom 1
Bedroom 2
Bedroom 2
Guest bedroom
Master Bedroom
Master Bathroom
Hall Bathroom
Guest Bathroom
Outdoor
Shop / Garage

## Copy of Energy Use Data
Name:
Device / Appliance | Average | Power use | Power Use | Daily Power use | Daily Cost | Monthly Cost | Annual Cost
| Daily Use | Watts | kilowatts | kWh
Laundry Room
|  |  | 0 | 0 | 0 | 0 | 0
Kitchen
Commonly used kitchen appliances
Living Room
Hallway
Bedroom 1
Bedroom 2
Bedroom 2
Guest bedroom
Master Bedroom
Master Bathroom
Hall Bathroom
Guest Bathroom
Outdoor
Shop / Garage